## Sheet1
Ba | Pitch_angle | deg
Cm | Converter_torque | Nm
Cosphi | Power_factor
Ds | Generator_speed | rpm
Nu | Grid_voltage | V
Ot | Outdoor_temperature | deg_C
P | Active_power | kW
Pas | Pitch_angle_setpoint
Q | Reactive_power | kVAr
Rm | Torque | Nm
Rs | Rotor_speed | rpm
S | Apparent_power | kVA
Va | Vane_position | deg
Va1 | Vane_position_1 | deg
Va2 | Vane_position_2 | deg
Wa | Absolute_wind_direction | deg
Wa_c | Absolute_wind_direction_corrected | deg
Ws | Wind_speed | m/s
Ws1 | Wind_speed_1 | m/s
Ws2 | Wind_speed_2 | m/s
Ya | Nacelle_angle | deg
Na_c | Nacelle_angle_corrected | deg